## Informations
MAKE SURE THAT ALL THE INFORMATION YOU SHARE CAN BE SHARED PUBLICLY
Please fill the PV_plant_setup file, the cases in yellow must be filled to have the code running.
If possible please fill additional informations to the plant set-up and/or refer to a relevant documentation
The measured powered time series contains three columns:
--> one with the raw measured PV data aggregated on the hourly level (faculative, for documentation purposes)
--> one with the normalized PV data: all values must be between 0 and 1 (facultative, for documentation purposes)
--> one normalized corrected file where missing values are replaced (must be filled to have the code running)
If possible, please explain how this has been done in the "PV plant set-up informations" in this file.
More columns can be added but the column name "Normalized PV power corrected" or "Time" should not be changed

## PV_plant_setup
Parameter | Value
Location | Almeria
Latitude | 36.931
Longitude | -2.472
Tilt | 22
Azimuth | 178 | 180° is south facing
System loss | 9.75
Building/free | free | Building integration or free standing
PV technology | crystSi
Start year | 2023
End year | 2023
Fixed | 1
Tracking | 0
Capacity Factor 1 | 1
Bifacial panel
Measurement resolution (should be below 1min)
Installed peak capacity (kWp)
Inverter nominal capacity (kW), inlet/outlet
Inverter model (facultative info)
Module manufacturer (facultative info)
Module model (facultative info)
Additional informations regarding the plant set-up:
General informations
The site is a new solar power plant that was commissioned in February 2023 in Almería (Spain, 36° 55' 51'' N - 2° 28' 18'' W), with an installed capacity of 3.8 MW, directly connected to the grid.
Climate site description (check https://koppen.earth/ )
The climate classification of Almería is between a hot semi-arid and a hot desert climate (BSh/BWh) and is known to be one of the driest cities in Europe.
The PV plant itself is located in a climate area qualified as hot desert (BWh). Hot desert climate can be found, among other places, in the deserts of Northern and Southern Africa (i.e. Sahara and Kalahari Desert), West-Asia (i.e. Arabian Desert), South Asia (in Iran, Pakistan and north India), Australia, or the coast of Chile and Peru. This type of climate usually presents clear sky and very high potential for solar power production.
Detailed description of the PV plant set-up
The grid-connected photovoltaic power plant consists of a total of 9,072 monocrystalline panels, mounted on a fixed support in the province of Almería, Spain, with a tilt angle of 22° and an azimuth of -2°. The installed solar panels are bifacial monocrystalline Longi (Hi-MO4 LR4-72HBD-440M) with an efficiency of 20.2% at STC. They are connected to a Freesum inverter (Power Electronics), commercial reference FS3670KH000015, with an efficiency of 98.45%. Each module has a power of 440 W, resulting in a total installed capacity of 3,992 kWp, occupying a net area of 54,000 m². Performance and energy output measurements, both on the AC and DC sides, have been conducted using the OpenZmeter device [1], an open-source system for smart energy metering and power quality analysis. The OpenZmeter device is designed to comply with international standards such as IEC 61000-4-30 and EN 50160. OpenZmeter measures voltage in single or three-phase systems with an accuracy of up to 0.1%, including DC systems. It supports standard frequencies of 50/60Hz and can measure with a resolution of up to 10 mHz. Current measurement is determined by the selected external probe, including options like current transformers, Hall Effect sensors, and Rogowski coils. These probes allow for virtually unlimited current values, provided they comply with permitted input levels. OpenZmeter is configured to store data in an internal circular database with different aggregation periods. It stores current and voltage data for 120 days with a sampling rate of 3 seconds and 1 minute, respectively. Additionally, it stores aggregated data for 360 days with periods of 10 minutes and 1 hour for current and voltage, and 15 minutes and 1 hour for power measurements. In this installation, 4000A Rogowski coils and 40A current transformers were used for each of the strings. Measurements were taken in AC, and current, voltage, and power values from the inverter were recorded in parallel via Modbus communication. The inverter comprises 6 generation modules, with a total of 112 current measurements, one for each string, and 14 DC voltage measurements in each of the aggregation boxes. The analysed data consists of energy produced by the photovoltaic panels, recorded at various aggregation periods. Power production was calculated by summing the energies from lower aggregation levels. For example, hourly production was obtained by summing the four 15-minute intervals for each phase.
Measurement errors and missing values
During data collection, there were recorded information losses due to communication issues, protection trips in different string lines, as well as technical maintenance and breakdowns. For instance, on September 2nd, a major inverter failure caused the plant to shut down. After maintenance, the plant was restored but with only 5 operational stages of the inverter, as one stage failed and needed replacement. During this period, the system operated at 80% capacity until the failed module was replaced on September 14th.
[1] Viciana E., Arrabal-Campos F.M., Alcayde A., Baños R., Montoya F.G. All-in-one three-phase smart meter and power quality analyzer with extended IoT capabilities. Measurement 2023;206:112309. doi:10.1016/J.MEASUREMENT.2022.112309.

## Almeria2023
Time | Raw PV power measurements (facultative) | Normalized PV power [0-1] (faculative) | Normalized PV power corrected
0
0
0
0
0
0
0
0.005
0.089
0.169
0.222
0.304
0.357
0.359
0.335
0.219
0.048
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.01
0.114
0.219
0.308
0.356
0.365
0.335
0.249
0.134
0.026
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.007
0.11
0.232
0.338
0.413
0.464
0.47
0.41
0.263
0.07
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.021
0.258
0.452
0.575
0.637
0.64
0.59
0.48
0.303
0.083
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.008
0.125
0.354
0.578
0.639
0.645
0.594
0.485
0.308
0.086
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.026
0.256
0.432
0.581
0.639
0.651
0.603
0.495
0.318
0.093
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.031
0.292
0.486
0.611
0.672
0.675
0.622
0.511
0.328
0.099
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.006
0.081
0.154
0.229
0.423
0.519
0.468
0.319
0.155
0.031
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.014
0.168
0.315
0.411
0.467
0.532
0.569
0.462
0.294
0.076
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.031
0.276
0.462
0.584
0.644
0.648
0.596
0.487
0.316
0.09
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.039
0.303
0.489
0.605
0.662
0.663
0.611
0.501
0.326
0.091
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.011
0.105
0.204
0.296
0.377
0.511
0.532
0.471
0.315
0.089
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.042
0.307
0.485
0.592
0.635
0.629
0.596
0.494
0.336
0.104
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.022
0.194
0.305
0.432
0.518
0.594
0.561
0.484
0.318
0.098
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.041
0.295
0.465
0.56
0.563
0.506
0.433
0.344
0.214
0.056
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.038
0.226
0.4
0.424
0.583
0.674
0.611
0.494
0.334
0.104
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.045
0.302
0.478
0.594
0.649
0.653
0.601
0.496
0.325
0.098
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.028
0.289
0.518
0.628
0.627
0.568
0.5
0.402
0.265
0.073
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.071
0.364
0.548
0.664
0.72
0.718
0.661
0.545
0.366
0.119
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.045
0.276
0.499
0.626
0.687
0.69
0.637
0.527
0.348
0.111
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.034
0.225
0.496
0.615
0.665
0.634
0.544
0.375
0.213
0.046
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.091
0.393
0.573
0.689
0.747
0.747
0.691
0.577
0.394
0.144
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.078
0.363
0.551
0.676
0.738
0.74
0.685
0.569
0.386
0.137
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.008
0.065
0.106
0.126
0.135
0.134
0.116
0.097
0.055
0.012
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.036
0.266
0.48
0.612
0.667
0.63
0.557
0.441
0.275
0.072
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.032
0.231
0.469
0.633
0.7
0.692
0.599
0.44
0.276
0.088
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.091
0.37
0.553
0.663
0.72
0.722
0.668
0.563
0.364
0.134
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.046
0.203
0.245
0.298
0.37
0.402
0.385
0.347
0.245
0.087
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.068
0.303
0.428
0.479
0.537
0.523
0.468
0.369
0.217
0.065
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.011
0.082
0.185
0.318
0.418
0.451
0.443
0.396
0.281
0.098
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.114
0.387
0.568
0.684
0.741
0.742
0.688
0.576
0.4
0.162
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.108
0.37
0.551
0.67
0.73
0.733
0.681
0.57
0.391
0.155
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.038095
0.26738
0.5015
0.65777
0.73966
0.75409
0.72883
0.64937
0.42672
0.17394
0.0052098
0
0
0
0
0
0
0
0
0
0
0
0
0
0.047998
0.29515
0.23912
0
0.735
0.737
0.684
0.574
0.398
0.162
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.133
0.392
0.571
0.687
0.746
0.747
0.695
0.585
0.413
0.179
0.001
0
0
0
0
0
0
0
0
0
0
0
0
0
0.139
0.39
0.567
0.682
0.738
0.74
0.69
0.582
0.409
0.177
0.001
0
0
0
0
0
0
0
0
0
0
0
0
0
0.135
0.383
0.559
0.676
0.732
0.727
0.661
0.534
0.32
0.102
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.022
0
0.22793
0.22785
0.18518
0.3164
0.066353
0.10031
0.081195
0.027297
0.0070745
0
0
0
0
0
0
0
0
0
0
0
0
0
0.0037127
0.090409
0.18495
0.34771
0.37149
0.11362
0.2755
0.15215
0.10491
0.093946
0.0085614
0
0
0
0
0
0
0
0
0
0
0
0
0
0.019044
0.083212
0.19785
0.38122
0.80243
0.34792
0.21535
0.17057
0.10672
0.13571
0.020216
0
0
0
0
0
0
0
0
0
0
0
0
0
0.0010655
0
0.0038923
0.16433
0.41933
0.15564
0.14246
0.26488
0.28827
0.072606
0.0027481
0
0
0
0
0
0
0
0
0
0
0
0
0
0.019652
0.14154
0.23176
0.29271
0.75092
0.49007
0.24406
0.29623
0.20264
0.19904
0.02604
0
0
0
0
0
0
0
0
0
0
0
0
0
0.022756
0.22831
0.35248
0.67722
0.73988
0.75885
0.72296
0.5765
0.40764
0.1937
0.020571
0
0
0
0
0
0
0
0
0
0
0
0
0
0.061767
0.30268
0.52439
0.68277
0.77155
0.79655
0.75046
0.64003
0.4646
0.22145
0.016655
0
0
0
0
0
0
0
0
0
0
0
0
0
0.017806
0.12095
0.17258
0.24188
0.18656
0.14667
0.1711
0.20348
0.3945
0.14103
0.020451
0
0
0
0
0
0
0
0
0
0
0
0
0
0.0055064
0.038709
0.040834
0.031356
0.13842
0.38741
0.35621
0.35266
0.13601
0.071681
0.021019
0
0
0
0
0
0
0
0
0
0
0
0
0
0.0042965
0.041886
0.11573
0.22802
0.30279
0.31549
0.40196
0.38698
0.44466
0.14657
0.018602
0
0
0
0
0
0
0
0
0
0
0
0
0
0.016464
0.062781
0.077371
0.11609
0.16034
0.10248
0.087951
0.064698
0.073853
0.020914
0.0019519
0
0
0
0
0
0
0
0
0
0
0
0
0
0.0024431
0.032393
0.095286
0.22558
0.17786
0.1925
0.46222
0.27307
0.12553
0.12288
0.020202
0
0
0
0
0
0
0
0
0
0
0
0
9.8272e-05
0.065587
0.28209
0.41171
0.49929
0.5379
0.65099
0.64302
0.51882
0.37204
0.16399
0.028415
0
0
0
0
0
0
0
0
0
0
0
0
6.3445e-05
0.056384
0.17799
0.43433
0.60196
0.68697
0.72665
0.69535
0.59009
0.38514
0.16051
0.017498
0
0
0
0
0
0
0
0
0
0
0
0
0.00030324
0.025876
0.14489
0.30064
0.60189
0.56284
0.74611
0.69399
0.57558
0.40278
0.19056
0.029265
0
0
0
0
0
0
0
0
0
0
0
0
0.00015127
0.061051
0.2534
0.47009
0.63022
0.72504
0.74544
0.69636
0.58687
0.4081
0.18684
0.031523
0
0
0
0
0
0
0
0
0
0
0
0
0.00021457
0.070552
0.28935
0.45669
0.54966
0.74454
0.78119
0.75362
0.65155
0.44659
0.19478
0.031834
0
0
0
0
0
0
0
0
0
0
0
0
1.0049e-05
0.018834
0.06734
0.23516
0.24193
0.61296
0.33685
0.25139
0.30821
0.17682
0.090634
0.01583
0
0
0
0
0
0
0
0
0
0
0
0
0.00035726
0.032446
0.11459
0.19443
0.32801
0.82176
0.80347
0.73431
0.59086
0.18359
0.18532
0.022096
6.7641e-08
0
0
0
0
0
0
0
0
0
0
0
4.3223e-05
0.024251
0.17578
0.39108
0.61702
0.75555
0.85447
0.72469
0.65006
0.50525
0.27025
0.051186
0
0
0
0
0
0
0
0
0
0
0
0
0.0011453
0.117
0.32775
0.37462
0.48669
0.11455
0.093846
0.12399
0.44167
0.17322
0.14659
0.042211
3.0012e-06
0
0
0
0
0
0
0
0
0
0
0
0.0028081
0.13466
0.38362
0.59363
0.73181
0.82193
0.84553
0.80295
0.695
0.51599
0.2839
0.053099
1.927e-05
0
0
0
0
0
0
0
0
0
0
0
0.0030835
0.13266
0.38008
0.58476
0.72733
0.81566
0.83039
0.78822
0.67526
0.50023
0.26858
0.05202
1.0286e-05
0
0
0
0
0
0
0
0
0
0
0
0.0034812
0.1369
0.38459
0.60035
0.76109
0.854
0.85804
0.79926
0.50999
0.50926
0.2799
0.056538
4.026e-05
0
0
0
0
0
0
0
0
0
0
0
0.0041002
0.13885
0.38394
0.58365
0.72728
0.81872
0.8361
0.79338
0.67662
0.39042
0.26887
0.057883
4.7921e-05
0
0
0
0
0
0
0
0
0
0
0
0.0043161
0.13803
0.37828
0.58891
0.72888
0.81523
0.83741
0.79925
0.68897
0.50606
0.25629
0.045768
3.6179e-05
0
0
0
0
0
0
0
0
0
0
0
0.0045223
0.15807
0.28019
0.44739
0.46876
0.55652
0.63935
0.52791
0.49101
0.4146
0.092711
0.0088225
0
0
0
0
0
0
0
0
0
0
0
0
0.0014338
0.11942
0.19044
0.19261
0.46468
0.69604
0.74023
0.75738
0.59946
0.49531
0.27854
0.039215
0
0
0
0
0
0
0
0
0
0
0
0
0.00046953
0.030929
0.13923
0.24785
0.39277
0.53491
0.49994
0.68931
0.57482
0.47884
0.17487
0.0741
0.00032272
0
0
0
0
0
0
0
0
0
0
0
0.0081518
0.15385
0.38375
0.58362
0.73082
0.81366
0.20849
0.37683
0.62964
0.47149
0.22638
0.069346
8.4947e-05
0
0
0
0
0
0
0
0
0
0
0
0.0041769
0.073927
0.16013
0.27472
0.32968
0.5932
0.49694
0.49977
0.4683
0.47326
0.28054
0
7.2589e-05
0
0
0
0
0
0
0
0
0
0
0
0.011
0.204
0.452
0
0.18686
0.78224
0.79355
0.75382
0.64194
0.49547
0.28136
0.070382
0.00035913
0
0
0
0
0
0
0
0
0
0
0
0.0046032
0.17013
0.40899
0.60315
0.73957
0.82221
0.84553
0.78338
0.66554
0.51289
0.26568
0.061646
0.00026873
0
0
0
0
0
0
0
0
0
0
0
0.01233
0.17452
0.37319
0.57271
0.72879
0.8074
0.7922
0.77632
0.60715
0.50121
0.29896
0.067419
0.00046247
0
0
0
0
0
0
0
0
0
0
0
0.0095206
0.11713
0.41416
0.61711
0.61752
0.7801
0.81749
0.57141
0.63272
0.38958
0.26341
0.084725
0.0012236
0
0
0
0
0
0
0
0
0
0
0
0.01172
0.18885
0.42341
0.61682
0.75352
0.82478
0.82804
0.77945
0.6831
0.50566
0.27919
0.058588
0.00058747
0
0
0
0
0
0
0
0
0
0
0
0.016436
0.18407
0.41928
0.60637
0.74422
0.81973
0.83214
0.78779
0.68333
0.51523
0.29795
0.078033
0.00047931
0
0
0
0
0
0
0
0
0
0
0
0.018568
0.19069
0.4279
0.61622
0.74731
0.82605
0.84153
0.79166
0.68606
0.52715
0.30854
0.054827
0.00069427
0
0
0
0
0
0
0
0
0
0
0
0.010372
0.13668
0.25126
0.48502
0.57372
0.80711
0.85672
0.79335
0.68163
0.5163
0.27192
0.081404
0.0014195
0
0
0
0
0
0
0
0
0
0
0
0.0051277
0.071254
0.12079
0.42036
0.73648
0.8281
0.54803
0.5384
0.14607
0.23202
0.23144
0.086455
0.00084639
0
0
0
0
0
0
0
0
0
0
0
0.020881
0.19993
0.43023
0.61223
0.3241
0.57784
0.39181
0.18153
0.49095
0.53904
0.20715
0.075018
0.00054263
0
0
0
0
0
0
0
0
0
0
0
0.024255
0.2044
0.43614
0.62561
0.76104
0.83723
0.84414
0.79465
0.69598
0.53148
0.31125
0.092306
0.0013988
0
0
0
0
0
0
0
0
0
0
0
0.019098
0.18516
0.41061
0.53909
0.68718
0.76681
0.84448
0.76135
0.70774
0.53576
0.30781
0.08898
0.0024357
0
0
0
0
0
0
0
0
0
0
0
0.027211
0.20468
0.43122
0.623
0.76493
0.84644
0.86208
0.81404
0.70304
0.53296
0.31144
0.091774
0.0013851
0
0
0
0
0
0
0
0
0
0
0
0.030155
0.21372
0.44293
0.63168
0.795
0.88162
0.88803
0.83713
0.72769
0.54942
0.32399
0.094767
0.0011874
0
0
0
0
0
0
0
0
0
0
0
0.03165
0.22022
0.44347
0.60092
0.67175
0.81065
0.84069
0.72583
0.63736
0.49328
0.29304
0.092063
0.0022655
0
0
0
0
0
0
0
0
0
0
0
0.031816
0.21925
0.44747
0.6314
0.7737
0.84809
0.85896
0.80807
0.69839
0.52962
0.30928
0.093299
0.0016739
0
0
0
0
0
0
0
0
0
0
0
0.034463
0.23812
0.39252
0.63404
0.72968
0.63382
0.70947
0.70592
0.64966
0.49765
0.2535
0.086791
0.0044726
0
0
0
0
0
0
0
0
0
0
1.8126e-05
0.034816
0.22353
0.37906
0.60923
0.77926
0.808
0.79321
0.80295
0.62885
0.20108
0.16414
0.052682
0.0035277
0
0
0
0
0
0
0
0
0
0
0
0.038814
0.22937
0.46153
0.6307
0.72707
0.85244
0.86808
0.81916
0.70815
0.53867
0.31877
0.088084
0.0021999
0
0
0
0
0
0
0
0
0
0
0
0.041163
0.24268
0.4716
0.6519
0.78708
0.86814
0.8813
0.82331
0.72211
0.55129
0.30115
0.10529
0.0031887
0
0
0
0
0
0
0
0
0
0
0
0.034963
0.19411
0.44061
0.63112
0.79369
0.86935
0.88192
0.79118
0.69651
0.53797
0.31261
0.095946
0.0039001
0
0
0
0
0
0
0
0
0
0
0
0.031833
0.21019
0.42347
0.62514
0.71494
0.49528
0.55149
0.793
0.71663
0.51641
0.30602
0.086346
0.0035859
0
0
0
0
0
0
0
0
0
0
0
0.032285
0.20558
0.34997
0.58297
0.62688
0.79045
0.85537
0.71176
0.55233
0.51855
0.3113
0.081083
0.0038761
0
0
0
0
0
0
0
0
0
0
0
0.036884
0.18579
0.39877
0.66585
0.80064
0.87945
0.90162
0.84874
0.69422
0.55612
0.33165
0.10677
0.0050233
0
0
0
0
0
0
0
0
0
0
0.00010771
0.056453
0.26408
0.49235
0.68852
0.82018
0.8843
0.89828
0.84787
0.72545
0.54531
0.30023
0.10889
0.0061181
0
0
0
0
0
0
0
0
0
0
0.00019641
0.047625
0.22564
0.4541
0.64094
0.76993
0.81411
0.8354
0.74647
0.53105
0.32525
0.19626
0.074819
0.0063736
0
0
0
0
0
0
0
0
0
0
0.00015802
0.058655
0.26668
0.50563
0.69735
0.82626
0.88746
0.88789
0.84274
0.72924
0.56215
0.34518
0.11718
0.0055685
0
0
0
0
0
0
0
0
0
0
0.0003689
0.065043
0.27383
0.5007
0.69593
0.0058532
0
0.829
0.764
0.64
0
0.0948
0.0812
0.0076388
0
0
0
0
0
0
0
0
0
0
0.0004422
0.062942
0.27532
0.50491
0.68806
0.81831
0.88437
0.89013
0.8364
0.72388
0.55383
0.33526
0.11366
0.0062431
0
0
0
0
0
0
0
0
0
0
0.00062528
0.065902
0.27506
0.50295
0.69333
0.83212
0.90119
0.90371
0.85315
0.73731
0.56398
0.33951
0.11504
0.0065283
0
0
0
0
0
0
0
0
0
0
0.00057708
0.065865
0.26724
0.49051
0.67671
0.80917
0.88265
0.8919
0.83913
0.72194
0.54944
0.32733
0.11127
0.0080131
0
0
0
0
0
0
0
0
0
0
0.00065498
0.06429
0.24732
0.46135
0.65294
0.78794
0.86735
0.86153
0.79492
0.68831
0.46255
0.15342
0.059743
0.00704
0
0
0
0
0
0
0
0
0
0
0.00090389
0.065018
0.24493
0.46059
0.65374
0.78555
0.85614
0.86092
0.80892
0.69768
0.53454
0.31633
0.11125
0.0098746
0
0
0
0
0
0
0
0
0
0
0.00098045
0.076085
0.28139
0.49839
0.68452
0.81347
0.87458
0.86361
0.80276
0.68682
0.52407
0.32343
0.067664
0.0099979
0
0
0
0
0
0
0
0
0
0
0.0012248
0.047833
0.23304
0.40888
0.61201
0.75091
0.84299
0.85249
0.81276
0.70608
0.53359
0.31487
0.1057
0.011001
0
0
0
0
0
0
0
0
0
0
0.0031684
0.089647
0.26215
0.47037
0.63987
0.7909
0.86456
0.80658
0.79676
0.68553
0.52771
0.30543
0.096901
0.0075732
0
0
0
0
0
0
0
0
0
0
0.0011577
0.077715
0.27948
0.49875
0.67655
0.80014
0.86641
0.87005
0.81692
0.70727
0.54448
0.33994
0.12458
0.0093343
0
0
0
0
0
0
0
0
0
0
0.0016029
0.078511
0.28078
0.49943
0.67878
0.80404
0.87386
0.87823
0.82473
0.71344
0.5478
0.33618
0.11981
0.010564
0
0
0
0
0
0
0
0
0
0
0.0024609
0.082156
0.28887
0.50891
0.68156
0.80974
0.88066
0.88564
0.83042
0.71692
0.56718
0.36914
0.15663
0.011895
0
0
0
0
0
0
0
0
0
0
0.0022682
0.085788
0.29411
0.51172
0.68301
0.79673
0.85734
0.87114
0.82043
0.71161
0.54689
0.33392
0.12052
0.011413
0
0
0
0
0
0
0
0
0
0
0.0029366
0.056186
0.16795
0.29276
0.48433
0.59498
0.82505
0.84027
0.68404
0.60506
0.49071
0.26573
0.095267
0.013259
0
0
0
0
0
0
0
0
0
0
0.0032191
0.08349
0.28096
0.4897
0.66679
0.80097
0.86839
0.87523
0.82169
0.70854
0.53995
0.33282
0.12273
0.011687
0
0
0
0
0
0
0
0
0
0
0.0040216
0.087175
0.28407
0.49532
0.67074
0.79717
0.86887
0.88472
0.83198
0.72162
0.50129
0.24778
0.13305
0.019794
0
0
0
0
0
0
0
0
0
0
0.00061299
0.022986
0.088802
0.21894
0.27738
0.60899
0.69124
0.63239
0.52931
0.65997
0.53525
0.32503
0.12358
0.0068799
0
0
0
0
0
0
0
0
0
0
0.0048422
0.086284
0.29289
0.48123
0.47181
0.75435
0.83675
0.86147
0.80975
0.69987
0.53784
0.33028
0.12479
0.01332
0
0
0
0
0
0
0
0
0
0
0.0048248
0.092898
0.29012
0.4921
0.66265
0.78015
0.84447
0.8501
0.79458
0.69121
0.53227
0.3293
0.12618
0.013677
0
0
0
0
0
0
0
0
0
0
0.0060004
0.096811
0.29314
0.49522
0.673
0.79203
0.8506
0.86707
0.80846
0.69759
0.53528
0.32993
0.12623
0.013778
0
0
0
0
0
0
0
0
0
0
0.0049559
0.095231
0.29301
0.49233
0.65612
0.77401
0.84235
0.83534
0.78314
0.68064
0.52478
0.32909
0.12791
0.013816
0
0
0
0
0
0
0
0
0
0
0.006963
0.095774
0.28803
0.44926
0.58123
0.77136
0.83081
0.81406
0.78054
0.68105
0.41313
0.30621
0.098214
0.0091256
0
0
0
0
0
0
0
0
0
0
0.0058501
0
0.296
0.41
0.438
0.443
0.47
0.546
0.311
0.133
0.09
0.058
0.039
0.003
0
0
0
0
0
0
0
0
0
0
0
0.016
0.068
0.183
0.395
0.51
0.495
0.419
0.522
0.588
0.513
0.34
0.151
0.018
0
0
0
0
0
0
0
0
0
0
0.002
0.058
0.246
0.39
0.408
0.357
0.361
0.382
0.34
0.292
0.231
0.196
0.105
0.015
0
0
0
0
0
0
0
0
0
0
0.003
0.118
0.322
0.51
0.656
0.751
0.797
0.798
0.756
0.669
0.536
0.355
0.159
0.015
0
0
0
0
0
0
0
0
0
0
0.010297
0.11669
0.32031
0.50461
0.65892
0.78508
0.72296
0.766
0.7322
0.52699
0.31679
0.2477
0.12041
0.033011
0
0
0
0
0
0
0
0
0
0
0.00995
0.11753
0.32094
0.5387
0.70092
0.71065
0.79216
0.75039
0.69741
0.55921
0.44118
0.30807
0.11765
0.034036
0
0
0
0
0
0
0
0
0
0
0.015033
0.13302
0.3243
0.44653
0.56476
0.67377
0.65151
0.59706
0.65601
0.60516
0.45657
0.35227
0.14208
0.019148
0
0
0
0
0
0
0
0
0
0
0.012155
0.11636
0.31858
0.5202
0.67906
0.78243
0.83574
0.82701
0.77511
0.66804
0.48504
0.30031
0.1436
0.028979
0
0
0
0
0
0
0
0
0
0
0.011036
0.064602
0.19103
0.27949
0.67335
0.71635
0.7443
0.85084
0.75909
0.69856
0.54474
0.22822
0.094133
0.014023
0
0
0
0
0
0
0
0
0
0
0.012943
0.13163
0.27555
0.51418
0.68041
0.79665
0.84404
0.8384
0.81169
0.52092
0.53064
0.33141
0.13715
0.018093
0
0
0
0
0
0
0
0
0
0
0.012787
0.1191
0.32184
0.52037
0.67371
0.78677
0.83703
0.73066
0.42773
0.35134
0.43749
0.32353
0.13038
0.023229
0
0
0
0
0
0
0
0
0
0
0.0097959
0.11845
0.30714
0.50666
0.67275
0.78403
0.84943
0.83847
0.77314
0.66592
0.51557
0.31375
0.095642
0.025718
0.00017904
0
0
0
0
0
0
0
0
0
0.01711
0.11847
0.29957
0.48742
0.66828
0.78694
0.84835
0.8457
0.79025
0.68834
0.53022
0.33372
0.13361
0.025494
0
0
0
0
0
0
0
0
0
0
0.014502
0.12156
0.31913
0.51229
0.66362
0.78126
0.83397
0.84465
0.79323
0.68815
0.503
0.33173
0.13946
0.02546
0
0
0
0
0
0
0
0
0
0
0.0054931
0.10896
0.25704
0.32694
0.26693
0.83117
0.67404
0.5698
0.32748
0.16201
0.086277
0.067017
0.039876
0.0085451
0
0
0
0
0
0
0
0
0
0
0.013273
0.085434
0.084213
0.19197
0.39217
0.76862
0.44526
0.14374
0.28858
0.46679
0.48948
0.31901
0.085875
0.022544
9.7556e-05
0
0
0
0
0
0
0
0
0
0.015958
0.13876
0.3685
0.58005
0.74914
0.79512
0.50877
0.67321
0.67173
0.51767
0.28806
0.28683
0.10581
0.021052
0.00012462
0
0
0
0
0
0
0
0
0
0.020223
0.14487
0.37444
0.59085
0.53192
0.86134
0.78112
0.91827
0.86872
0.76706
0.59696
0.3872
0.16311
0.034756
0.00011752
0
0
0
0
0
0
0
0
0
0.019335
0.14463
0.37096
0.58294
0.7462
0.74825
0.9394
0.91479
0.87228
0.73391
0.60616
0.3894
0.16763
0.028279
3.2594e-05
0
0
0
0
0
0
0
0
0
0.015569
0.097143
0.34939
0.44811
0.46901
0.68032
0.56678
0.36932
0.42847
0.29964
0.20365
0.15818
0.0569
0.011966
0
0
0
0
0
0
0
0
0
0
0.01684
0.13349
0.26986
0.28967
0.40886
0.57715
0.74127
0.82215
0.62057
0.79219
0.57574
0.40769
0.069206
0.01492
0.00011913
0
0
0
0
0
0
0
0
0
0.013471
0.089465
0.31252
0.56987
0.75715
0.71174
0.64814
0.24493
0.10774
0.30507
0.05181
0
0.116
0.031
0
0
0
0
0
0
0
0
0
0
0.014
0.135
0.338
0.497
0.611
0.679
0.719
0.673
0.615
0.52
0.414
0.287
0.143
0.034
0
0
0
0
0
0
0
0
0
0
0.01
0.08
0.163
0.26
0.341
0.256
0.196
0.207
0.202
0.176
0.157
0.14
0.085
0.015
0
0
0
0
0
0
0
0
0
0
0.003
0
0.024852
0.023967
0.068778
0.065172
0.042661
0.018227
0.02102
0.053986
0.041499
0.022188
0.0010381
0
0
0
0
0
0
0
0
0
0
0
0.008
0.077
0
0.17645
0.68158
0.85401
0.94583
0.90562
0.85737
0.77893
0.62581
0.40207
0.15543
0.030247
0.00026758
0
0
0
0
0
0
0
0
0
0.023889
0.083857
0.00022419
0
0.4606
0.85637
0.48937
0.57462
0.62585
0.26716
0.60768
0.28574
0.14092
0.032389
0.00025153
0
0
0
0
0
0
0
0
0
0.024658
0.14377
0.35703
0.55716
0.71957
0.83263
0.89281
0.8949
0.85613
0.27939
0.51435
0.19843
0.059992
0.017387
1.1585e-05
0
0
0
0
0
0
0
0
0
0.026256
0.14651
0.36211
0.56947
0.59151
0.79336
0.6691
0.69103
0.547
0.60918
0.49125
0.3695
0.1667
0.03743
0.00046848
0
0
0
0
0
0
0
0
0
0.032834
0.032739
0.06039
0.15706
0.087884
0.16976
0.26143
0.25549
0.068379
0.25036
0.38421
0.14422
0.11612
0.039776
0.00030916
0
0
0
0
0
0
0
0
0
0.012753
0.10611
0.34903
0.57235
0.68042
0.59964
0.8904
0.85465
0.28023
0.22735
0.40655
0.1276
0.13331
0.019467
7.8076e-05
0
0
0
0
0
0
0
0
0
0.027589
0.1457
0.35837
0.56552
0.72975
0.84517
0.89509
0.89677
0.75432
0.59753
0.4104
0.39085
0.16521
0.043539
0.0010368
0
0
0
0
0
0
0
0
0
0.04427
0.11139
0.25074
0.45497
0.67388
0.51445
0.7525
0.81181
0.32933
0.20731
0.31948
0.32893
0.143
0.041009
0.0013614
0
0
0
0
0
0
0
0
9.214e-05
0.026191
0.14971
0.36499
0.56601
0.73155
0.84922
0.90097
0.85143
0.77724
0.77504
0.54932
0.30213
0.17612
0.038743
0.00044709
0
0
0
0
0
0
0
0
2.3036e-05
0.025695
0.14676
0.25515
0
0.487
0.47
0.452
0.439
0.467
0.43
0.411
0.326
0.163
0.042
0
0
0
0
0
0
0
0
0
0
0.005
0.025
0.053
0.106
0.174
0.217
0.287
0.413
0.447
0.39
0.32
0.218
0.103
0.03
0
0
0
0
0
0
0
0
0
0
0.023
0.147
0.332
0.501
0.615
0.629
0.617
0.622
0.516
0.485
0.402
0.259
0.153
0.043
0
0
0
0
0
0
0
0
0
0
0.023
0.15
0.335
0.505
0.638
0.709
0.731
0.717
0.653
0.557
0.455
0.31
0.18
0.044
0
0
0
0
0
0
0
0
0
0
0.02
0.116
0.257
0.417
0.556
0.593
0.601
0.572
0.584
0
0.15748
0
0.173
0.047
0
0
0
0
0
0
0
0
0
0
0.021
0
0.37404
0.57249
0.71337
0.81197
0.87493
0.88559
0.84494
0.70331
0.48669
0.35922
0.17427
0.042283
0.0016481
0
0
0
0
0
0
0
0
0
0.0086275
0.060677
0.079483
0.047192
0.12599
0.17386
0.20739
0.46216
0.47562
0.34743
0.33175
0.1417
0.038666
0.027329
0.0023005
0
0
0
0
0
0
0
0
0
0.0048911
0.079231
0.21346
0.2996
0.22457
0.61026
0.49084
0.71515
0.53837
0.40737
0.24715
0.051116
0.041708
0.043755
0.0019368
0
0
0
0
0
0
0
0
0
0.022253
0.14714
0.36962
0.57386
0.72552
0.82758
0.83593
0.88025
0.75046
0.65265
0.56767
0.36575
0.18922
0.027193
0.00061394
0
0
0
0
0
0
0
0
0
0.021318
0.14532
0.36429
0.56762
0.72172
0.82612
0.88259
0.88616
0.83055
0.6756
0.57894
0.40722
0.18522
0.046048
0.0024597
0
0
0
0
0
0
0
0
0
0.0098195
0.089217
0.28112
0.50884
0.72448
0.84012
0.89106
0.89744
0.83362
0.74254
0.60281
0.40804
0.19341
0.040182
0.0013834
0
0
0
0
0
0
0
0
0
0.027494
0.12247
0.24571
0.36834
0.49862
0.49979
0.44632
0.21447
0.3513
0.61813
0.51385
0.32306
0.16319
0.048571
0.0019647
0
0
0
0
0
0
0
0
3.8095e-05
0.025322
0.12429
0.36141
0.56359
0.72032
0.83085
0.86464
0.86605
0.80975
0.62648
0.57237
0.17188
0.15857
0.050137
0.0022638
0
0
0
0
0
0
0
0
0.00011855
0.023704
0.14621
0.36096
0.55685
0.71976
0.8394
0.89973
0.86609
0.75818
0.72361
0.59436
0.41064
0.19156
0.039717
0.0012562
0
0
0
0
0
0
0
0
9.0914e-06
0.023762
0.14337
0.35496
0.55535
0.71422
0.82439
0.87883
0.87557
0.82564
0.73117
0.5894
0.40236
0.18902
0.041726
0.0020878
0
0
0
0
0
0
0
0
1.3943e-05
0.025738
0.14298
0.3523
0.54058
0.69217
0.79601
0.8533
0.85973
0.81276
0.72452
0.58337
0.39665
0.1876
0.043477
0.0010073
0
0
0
0
0
0
0
0
3.4345e-05
0.02454
0.14149
0.34933
0.54297
0.69197
0.79118
0.85127
0.842
0.80438
0.72224
0.57538
0.38501
0.18383
0.050499
0.0035698
0
0
0
0
0
0
0
0
0
0.0074455
0.093735
0.20954
0.43225
0.6057
0.7571
0.82327
0.77199
0.81568
0.7421
0.59368
0.22281
0.14071
0.034272
0.0009112
0
0
0
0
0
0
0
0
0
0.022313
0.11561
0.31494
0.52034
0.67328
0.78069
0.83886
0.84399
0.75519
0.67862
0.54944
0.37564
0.18231
0.046926
0.00097728
0
0
0
0
0
0
0
0
0
0.025504
0.13555
0.32081
0.51813
0.68251
0.79051
0.84676
0.85113
0.81211
0.73744
0.54534
0.40866
0.19459
0.044786
0.0017767
0
0
0
0
0
0
0
0
0
0.020508
0.11227
0.32064
0.51498
0.67224
0.7807
0.84134
0.81819
0.80455
0.71181
0.56798
0.39144
0.18337
0.038711
0.0028182
0
0
0
0
0
0
0
0
0
0.024709
0.13625
0.34014
0.53417
0.69148
0.80295
0.85367
0.85653
0.81368
0.71863
0.57361
0.39264
0.18855
0.045711
0.0025614
0
0
0
0
0
0
0
0
0
0.024647
0.13414
0.3355
0.5297
0.68097
0.78625
0.82138
0.83435
0.79682
0.71344
0.57269
0.38981
0.18663
0.044354
0.0024393
0
0
0
0
0
0
0
0
0
0.022979
0.13609
0.34108
0.53854
0.68308
0.7795
0.84444
0.85482
0.81114
0.71649
0.57814
0.3923
0.18662
0.045181
0.0026014
0
0
0
0
0
0
0
0
0
0.02355
0.13324
0.33068
0.53006
0.6856
0.79136
0.84722
0.85144
0.80799
0.71706
0.57978
0.39401
0.19046
0.046099
0.0027596
0
0
0
0
0
0
0
0
0
0.023609
0.13073
0.3241
0.5123
0.67559
0.79036
0.85103
0.85289
0.81047
0.67139
0.4002
0.37148
0.22146
0.054171
0.0029193
0
0
0
0
0
0
0
0
0
0.022904
0.1291
0.32201
0.51814
0.67197
0.77925
0.83716
0.83973
0.78026
0.68247
0.52607
0.35286
0.17654
0.054348
0.0030429
0
0
0
0
0
0
0
0
0
0.025882
0.13239
0.31185
0.48082
0.63412
0.76132
0.8258
0.83493
0.77671
0.68781
0.54513
0.36996
0.17423
0.050757
0.0029759
0
0
0
0
0
0
0
0
0
0.025855
0.12221
0.28197
0.45372
0.62867
0.71641
0.77195
0.79334
0.76101
0.68335
0.52742
0.34214
0.17272
0.056718
0.0044826
0
0
0
0
0
0
0
0
0
0.028465
0.12891
0.30665
0.49416
0.64477
0.76459
0.82733
0.82767
0.79842
0.70734
0.56481
0.3805
0.18726
0.058376
0.0010441
0
0
0
0
0
0
0
0
0
0.026397
0.10142
0.30167
0.44447
0.65099
0.76915
0.82968
0.83119
0.78517
0.69074
0.55178
0.36592
0.18042
0.050312
0.0026226
0
0
0
0
0
0
0
0
0
0.02262
0.12466
0.31607
0.50749
0.6659
0.76994
0.82471
0.82533
0.78992
0.70109
0.56013
0.37778
0.17316
0.03595
0.0035605
0
0
0
0
0
0
0
0
0
0.020815
0.12596
0.32022
0.5219
0.6832
0.79495
0.85056
0.85478
0.8154
0.71919
0.56953
0.38976
0.18915
0.046784
0.0026432
0
0
0
0
0
0
0
0
0
0.018768
0.12429
0.32529
0.5265
0.68286
0.798
0.85808
0.86324
0.81905
0.72143
0.58038
0.3914
0.18577
0.047342
0.0030231
0
0
0
0
0
0
0
0
0
0.022561
0.12321
0.27451
0.49757
0.59489
0.74705
0.83773
0.84278
0.80256
0.73062
0.5453
0.32468
0.18443
0.048422
0.0019042
0
0
0
0
0
0
0
0
0
0.018466
0.11572
0.26393
0.33666
0.48082
0.69734
0.68326
0.80797
0.76266
0.69471
0.5619
0.3796
0.18286
0.046474
0.0023122
0
0
0
0
0
0
0
0
0
0.02103
0.11633
0.29697
0.48536
0.63949
0.74468
0.79985
0.81541
0.77203
0.68685
0.55057
0.37693
0.18397
0.049352
0.0028815
0
0
0
0
0
0
0
0
0
0.021017
0.067267
0.17273
0.5114
0.63169
0.74418
0.7982
0.81241
0.7737
0.67859
0.54757
0.3687
0.1801
0.051816
0.0033129
0
0
0
0
0
0
0
0
0
0.018988
0.086939
0.29085
0.45326
0.6278
0.73581
0.79617
0.81036
0.76888
0.68388
0.54716
0.36914
0.18271
0.050633
0.0014195
0
0
0
0
0
0
0
0
0
0.022038
0.11442
0.27725
0.45305
0.59953
0.69642
0.75396
0.76812
0.73704
0.65273
0.51862
0.34598
0.17003
0.051146
0.00216
0
0
0
0
0
0
0
0
0
0.017882
0.098123
0.27262
0.45532
0.60733
0.72336
0.78577
0.79441
0.75132
0.64487
0.49447
0.33037
0.1544
0.034355
0.00063272
0
0
0
0
0
0
0
0
0
0.019391
0.11542
0.24786
0.44256
0.5912
0.71929
0.79147
0.80096
0.75619
0.67049
0.53307
0.35582
0.17821
0.053495
0.0024435
0
0
0
0
0
0
0
0
0
0.019433
0.11526
0.29487
0.48481
0.63875
0.74089
0.80928
0.81569
0.77336
0.67778
0.53584
0.35464
0.16713
0.045341
0.0015283
0
0
0
0
0
0
0
0
0
0.022091
0.15485
0.27979
0.13794
0.59684
0.75411
0.81375
0.80752
0.77159
0.68563
0.54765
0.37123
0.18149
0.052489
0.0027826
0
0
0
0
0
0
0
0
0
0.017144
0.069544
0.22199
0.47181
0.63746
0.76196
0.83854
0.84606
0.79755
0.70916
0.56576
0.38017
0.18116
0.048706
0.0023321
0
0
0
0
0
0
0
0
0
0.017765
0.092042
0.26712
0.45904
0.58784
0.54185
0.65859
0.5854
0.6388
0.55028
0.36775
0.35533
0.18006
0.047892
0.0013872
0
0
0
0
0
0
0
0
0
0.014587
0.10385
0.28723
0.47325
0.62395
0.72572
0.78862
0.80687
0.77097
0.68322
0.54818
0.37061
0.17903
0.043644
0.0009457
0
0
0
0
0
0
0
0
0
0.01575
0.11144
0.28722
0.47708
0.6246
0.73848
0.79932
0.81613
0.78379
0.6975
0.55689
0.36876
0.17501
0.042131
0.0006481
0
0
0
0
0
0
0
0
0
0.011348
0.095769
0.25747
0.43792
0.59768
0.71601
0.76424
0.77044
0.72577
0.51021
0.37976
0.20108
0.1387
0.048759
0.0010776
0
0
0
0
0
0
0
0
0
0.012812
0.11064
0.25021
0.38829
0.58922
0.62524
0.79721
0.54116
0.67295
0.67126
0.52938
0.39708
0.13239
0.04396
0.0013625
0
0
0
0
0
0
0
0
0
0.019548
0.10773
0.29161
0.44832
0.58178
0.67533
0.75261
0
2.8196e-06
0.58
0.48
0
0.00012898
0.00064217
0
0
0
0
0
0
0
0
0
0
0.015
0.121
0.275
0.463
0.597
0.674
0.728
0.723
0.671
0.535
0.391
0.291
0.158
0.00028951
2.8766e-05
0
0
0
0
0
0
0
0
0
0.014
0.113
0.26
0.417
0.526
0.601
0.627
0.618
0.59
0.521
0.429
0.311
0.166
0.038
0
0
0
0
0
0
0
0
0
0
0.012
0.105
0.245
0.387
0.51
0.59
0.635
0.653
0.628
0.539
0.455
0.335
0.173
0.036
0
0
0
0
0
0
0
0
0
0
0.01
0
0.081825
0.26005
0.37245
0.44108
0.47836
0.47981
0.4535
0.39967
0.31846
0.20925
0.095148
0.019534
0.00028888
0
0
0
0
0
0
0
0
0
0.0042701
0.039651
0.27132
0.46339
0.61338
0.70834
0.77498
0.7836
0.74007
0.65044
0.51327
0.3372
0.15524
0.036943
0.0006908
0
0
0
0
0
0
0
0
0
0.0099394
0.073221
0.25185
0.018173
0
0.694
0.739
0.748
0.713
0.637
0.518
0.361
0.181
0.032
0
0
0
0
0
0
0
0
0
0
0.01
0.124
0
0.010119
0.60292
0.72127
0.78633
0.7971
0.74927
0.65714
0.52028
0.34344
0.15491
0.033142
0.00033182
0
0
0
0
0
0
0
0
0
0.012603
0.091888
0.2477
0.45407
0.5997
0.71148
0.76804
0.79223
0.75314
0.66354
0.518
0.33805
0.155
0.038197
0.00074281
0
0
0
0
0
0
0
0
0
0.0096901
0.065677
0.1944
0.4375
0.59118
0.71233
0.78179
0.78982
0.74269
0.64995
0.51327
0.33799
0.15307
0.032889
0
0
0
0
0
0
0
0
0
0
0.008
0.123
0.316
0.488
0.62
0.707
0
0.29839
0.75595
0.65786
0.51719
0.33924
0.1498
0.02991
0.00018618
0
0
0
0
0
0
0
0
0
0.0077274
0.095787
0.27102
0.45982
0.62039
0.73559
0.79492
0.80205
0.76729
0.67822
0.53428
0.34815
0.15547
0.030034
0.00015921
0
0
0
0
0
0
0
0
0
0.0069541
0.090795
0.27168
0.46036
0.6253
0.74454
0.81251
0.81962
0.77317
0.67437
0.52821
0.33998
0.14961
0.029112
0.00016326
0
0
0
0
0
0
0
0
0
0.0069224
0.089456
0.26841
0.46623
0.57786
0.74033
0.80165
0.8148
0.77184
0.67837
0.53831
0.35028
0.15322
0.02915
0.00010177
0
0
0
0
0
0
0
0
0
0.007774
0.087422
0.19388
0.45391
0.61653
0.7436
0.69176
0.82046
0.77697
0.68396
0.54631
0.36755
0.15575
0.02713
4.2084e-05
0
0
0
0
0
0
0
0
0
0.0087409
0.099974
0.26816
0.46303
0.63046
0.75052
0.81761
0.83164
0.7906
0.69649
0.55231
0.36324
0.15846
0.026842
0
0
0
0
0
0
0
0
0
0
0.0053175
0.088806
0.28019
0.47745
0.64342
0.7591
0.81489
0.82389
0.78635
0.69313
0.54931
0.36012
0.15649
0.025798
0
0
0
0
0
0
0
0
0
0
0.0056586
0.087857
0.28301
0.44031
0.63287
0.7383
0.80491
0.80693
0.75639
0.66334
0.5195
0.33135
0.14585
0.032578
0
0
0
0
0
0
0
0
0
0
0.0073367
0.087121
0.24473
0.42961
0.52275
0.38268
0.36624
0.69596
0.61443
0.55067
0.23202
0.12113
0.051616
0.017813
0
0
0
0
0
0
0
0
0
0
0.0069967
0.075985
0.17911
0.35718
0.61647
0.73711
0.81083
0.82544
0.78482
0.68767
0.53781
0.3412
0.15327
0.031255
3.9825e-06
0
0
0
0
0
0
0
0
0
0.0066991
0.079403
0.15719
0.36586
0.6027
0.72742
0.80201
0.82281
0.65241
0.62595
0.49509
0.30635
0.14104
0.031057
0
0
0
0
0
0
0
0
0
0
0.0070904
0.088679
0.27339
0.47924
0.64627
0.75499
0.8178
0.82666
0.79767
0.70576
0.55767
0.36333
0.15381
0.025987
0
0
0
0
0
0
0
0
0
0
0.0015493
0.03288
0.20653
0.47739
0.6646
0.77852
0.84906
0.84452
0.80602
0.70998
0.56033
0.36271
0.1518
0.025526
0
0
0
0
0
0
0
0
0
0
0.0047959
0.084414
0.28241
0.49396
0.6683
0.78244
0.8378
0.84873
0.80124
0.70387
0.55541
0.36145
0.14667
0.023158
0
0
0
0
0
0
0
0
0
0
0.0060072
0.086175
0.26904
0.47954
0.65917
0.77981
0.85737
0.86832
0.82358
0.719
0.56216
0.36091
0.14854
0.02524
0
0
0
0
0
0
0
0
0
0
0.0045808
0.083587
0.25686
0.45832
0.63265
0.74913
0.81476
0.82802
0.71525
0.63606
0.5371
0.3451
0.14533
0.025453
0
0
0
0
0
0
0
0
0
0
0.0064076
0.044366
0.11016
0.26865
0.59327
0.75507
0.82425
0.80045
0.65373
0.63453
0.42871
0.24827
0.15539
0.030855
6.4745e-05
0
0
0
0
0
0
0
0
0
0.0039983
0.085738
0.28673
0.50902
0.67739
0.8062
0.87215
0.87659
0.82561
0.72837
0.57418
0.36446
0.14176
0.017059
0
0
0
0
0
0
0
0
0
0
0.0032953
0.085325
0.30008
0.50497
0.67598
0.79549
0.8617
0.85607
0.7983
0.693
0.56394
0.29357
0.087687
0.011017
0
0
0
0
0
0
0
0
0
0
0.0026984
0.087519
0.31208
0.50307
0.66738
0.78404
0.83893
0.84182
0.79826
0.70211
0.55814
0.33262
0.13879
0.013896
0
0
0
0
0
0
0
0
0
0
0.0028306
0.077791
0.27601
0.48176
0.64575
0.76008
0.81772
0.82197
0.77248
0.67688
0.5303
0.33808
0.12922
0.014906
0
0
0
0
0
0
0
0
0
0
0.0025455
0.075602
0.2711
0.47729
0.64384
0.74764
0.81294
0.82026
0.7762
0.67922
0.53306
0.34042
0.12873
0.014273
0
0
0
0
0
0
0
0
0
0
0.0025939
0.076378
0.27089
0.48042
0.63787
0.74077
0.81128
0.82536
0.77975
0.68737
0.53372
0.33843
0.1263
0.013028
0
0
0
0
0
0
0
0
0
0
0.0020248
0.078089
0.28128
0.49386
0.65598
0.76595
0.81666
0.81211
0.77516
0.68307
0.52514
0.33411
0.12615
0.012456
0
0
0
0
0
0
0
0
0
0
0.0022232
0.077267
0.28027
0.48683
0.65668
0.77785
0.84485
0.84404
0.79108
0.68872
0.53276
0.33106
0.12213
0.012624
0
0
0
0
0
0
0
0
0
0
0.0024638
0.071524
0.25326
0.45939
0.63091
0.75052
0.82009
0.82457
0.77107
0.66893
0.51784
0.31343
0.075846
0.0094154
0
0
0
0
0
0
0
0
0
0
0.0016946
0.071693
0.25288
0.45871
0.62
0.74599
0.81194
0.78522
0.76045
0.65231
0.42144
0.14559
0.045482
0.0090043
0
0
0
0
0
0
0
0
0
0
0.00055806
0.066889
0.26349
0.4802
0.67264
0.80802
0.87102
0.87347
0.81509
0.70671
0.54339
0.32238
0.11999
0.012053
0
0
0
0
0
0
0
0
0
0
0.0014528
0.074613
0.27667
0.49188
0.67012
0.79338
0.85493
0.78365
0.79154
0.6917
0.53371
0.32768
0.1143
0.0081687
0
0
0
0
0
0
0
0
0
0
0.001396
0.07351
0.27388
0.46535
0.67558
0.78118
0.83099
0.83685
0.78708
0.68692
0.5297
0.32314
0.11136
0.0075543
0
0
0
0
0
0
0
0
0
0
0.00093991
0.06962
0.26357
0.46813
0.60316
0.54038
0.42255
0.81584
0.72476
0.62119
0.41761
0.12361
0.08269
0.0029258
0
0
0
0
0
0
0
0
0
0
0.00096135
0.06733
0.25775
0.46654
0.63289
0.75355
0.81497
0.81602
0.76539
0.66375
0.50726
0.30301
0.10145
0.006385
0
0
0
0
0
0
0
0
0
0
0.0015154
0.06709
0.2282
0.47601
0.50459
0.3404
0.65985
0.65447
0.7512
0.47861
0.50322
0.30092
0.09976
0.0054832
0
0
0
0
0
0
0
0
0
0
0
0.0038545
0.071776
0.15007
0.41788
0.65055
0.51714
0.50165
0.63764
0.43936
0.1871
0.042504
0.00018069
0
0
0
0
0
0
0
0
0
0
0
0
2.7222e-05
0.00065524
0
0.177
0.196
0.216
0.258
0.304
0.282
0.251
0.184
0.065
0.001
0
0
0
0
0
0
0
0
0
0
0
0.048
0.204
0.386
0.561
0.672
0.73
0.728
0.693
0.61
0.477
0.303
0.113
0.002
0
0
0
0
0
0
0
0
0
0
0
0.00017544
0.011487
0.28026
0.42908
0.56807
0.62432
0.66394
0.6155
0.47402
0.2943
0.17562
0.044942
0.0024958
0
0
0
0
0
0
0
0
0
0
0.00059395
0.04752
0.11256
0.36129
0.51167
0.61522
0.6808
0.68159
0.63175
0.55562
0.37825
0.13151
0.030223
0.0034851
0
0
0
0
0
0
0
0
0
0
0.00074328
0.064559
0.23035
0.39229
0.47955
0.50295
0.44352
0.63306
0.66726
0.57233
0.43085
0.20419
0.068827
0.00063676
0
0
0
0
0
0
0
0
0
0
0.00024114
0.046789
0.19603
0.39778
0.062036
0.37896
0.64628
0.64587
0.59444
0.50156
0.37328
0.2065
0.059112
0.0010165
0
0
0
0
0
0
0
0
0
0
0
0.038847
0.18648
0.35751
0.50281
0.58284
0.63449
0.64251
0.5979
0.50764
0.37655
0.21307
0.044176
0.0020161
0
0
0
0
0
0
0
0
0
0
0
0.056
0.245
0.438
0.589
0.687
0.733
0.733
0.69
0.592
0.447
0.281
0.103
0
0
0
0
0
0
0
0
0
0
0
0
0.028
0.119
0.258
0.439
0.645
0.715
0.695
0.629
0.558
0.448
0.294
0.103
0
0
0
0
0
0
0
0
0
0
0
0
0.035
0.184
0.407
0.57
0.68
0.733
0.737
0.697
0.609
0.473
0.294
0.099
0
0
0
0
0
0
0
0
0
0
0
0
0.038
0.205
0.43
0.577
0
0.30655
0.59689
0.53074
0.52665
0.42406
0.223
0.061618
0.0010223
0
0
0
0
0
0
0
0
0
0
0
0.037046
0.12527
0.28484
0.5225
0.60187
0.3731
0.53641
0.71659
0.564
0.43802
0.1854
0.033427
0
0
0
0
0
0
0
0
0
0
0
0
0.051683
0.24921
0.42927
0.52813
0.36442
0.17622
0.41568
0.60525
0.68487
0.48015
0.26164
0.05864
0.00067478
0
0
0
0
0
0
0
0
0
0
0
0.036977
0.20144
0.48235
0.44729
0.67959
0.78599
0.8358
0.6565
0.51759
0.43988
0.24196
0.045724
0.0007893
0
0
0
0
0
0
0
0
0
0
7.8288e-07
0.077175
0.27886
0.43025
0.49145
0.76862
0.82351
0.85572
0.76428
0.62467
0.34991
0.12651
0.06188
0.0022798
0
0
0
0
0
0
0
0
0
0
0
0.05528
0.23982
0.48417
0.65198
0.67006
0.77476
0.88116
0.78226
0.66975
0.4738
0.25891
0.045672
0
0
0
0
0
0
0
0
0
0
0
0
0.012409
0.088536
0.18385
0.42303
0.33244
0.61994
0.44337
0.28711
0.64581
0.48332
0.23276
0.048822
0.00031639
0
0
0
0
0
0
0
0
0
0
0
0.051925
0.2583
0.4893
0.67397
0.79582
0.85674
0.85407
0.79464
0.67997
0.49471
0.2596
0.053239
0.00015819
0
0
0
0
0
0
0
0
0
0
0
0.056268
0.28352
0.44938
0.61883
0.69977
0.84257
0.81558
0.75232
0.63671
0.48094
0.251
0.054154
6.8125e-05
0
0
0
0
0
0
0
0
0
0
0
0.038265
0.25502
0.41259
0.52218
0.63352
0.66165
0.62845
0.71264
0.58223
0.40151
0.24611
0.028017
0
0
0
0
0
0
0
0
0
0
0
0
0.058788
0.25856
0.50558
0.67856
0.79808
0.85959
0.85806
0.79285
0.67026
0.48575
0.25303
0.046717
0
0
0
0
0
0
0
0
0
0
0
0
0.053071
0.27032
0.50923
0.68639
0.78935
0.84144
0.82278
0.76922
0.65044
0.47171
0.24642
0.044827
1.9847e-05
0
0
0
0
0
0
0
0
0
0
0
0.050282
0.26674
0.50199
0.67998
0.79365
0.83431
0.82984
0.77451
0.6556
0.47303
0.2413
0.042485
0
0
0
0
0
0
0
0
0
0
0
0
0.049099
0.26031
0.49445
0.66577
0.77873
0.82977
0.83201
0.77356
0.64877
0.46454
0.23203
0.038005
0
0
0
0
0
0
0
0
0
0
0
0
0.048869
0.25949
0.49136
0.66155
0.77291
0.8367
0.83781
0.77138
0.64558
0.46001
0.22933
0.033548
0
0
0
0
0
0
0
0
0
0
0
0
0.048636
0.25058
0.4723
0.66299
0.77438
0.82603
0.82878
0.7687
0.6455
0.46121
0.22339
0.029536
0
0
0
0
0
0
0
0
0
0
0
0
0.045707
0.25122
0.47892
0.65663
0.7687
0.82301
0.81781
0.75134
0.63067
0.45126
0.21768
0.032874
0
0
0
0
0
0
0
0
0
0
0
0
0.043297
0.25343
0.48573
0.65495
0.76675
0.81967
0.81563
0.75407
0.34592
0
0.284
0.069
0
0
0
0
0
0
0
0
0
0
0
0
0.026
0.232
0.44
0.596
0.699
0.75
0.752
0.709
0.617
0.473
0.28
0.065
0
0
0
0
0
0
0
0
0
0
0
0
0.024
0.227
0
0.62861
0.7629
0.8094
0.81524
0.75563
0.63332
0.44827
0.21137
0.026062
0
0
0
0
0
0
0
0
0
0
0
0
0.046967
0.23685
0.47743
0.66136
0.78239
0.82757
0.8173
0.70257
0.60546
0.43551
0.19996
0.02413
0
0
0
0
0
0
0
0
0
0
0
0
0.036068
0.23491
0.46601
0.63418
0.74712
0.7851
0.76378
0.62384
0.56682
0.41083
0.21456
0.032366
0
0
0
0
0
0
0
0
0
0
0
0
0.033953
0.22416
0.45595
0.63701
0.75322
0.80394
0.78213
0.72011
0.59854
0.41679
0.18805
0.01989
0
0
0
0
0
0
0
0
0
0
0
0
0.032615
0.21966
0.44366
0.61799
0.73675
0.79229
0.79526
0.73723
0.61575
0.41421
0.18936
0.021684
0
0
0
0
0
0
0
0
0
0
0
0
0.035222
0.2334
0.46549
0.6425
0.74542
0.79799
0.79848
0.73223
0.60917
0.42121
0.18584
0.016275
0
0
0
0
0
0
0
0
0
0
0
0
0.031566
0.22575
0.44589
0.61808
0.7325
0.74216
0.72098
0.69771
0.47969
0.35204
0.17303
0.019805
0
0
0
0
0
0
0
0
0
0
0
0
0.024053
0.24413
0.4276
0.62552
0.77313
0.52392
0.46069
0.72962
0.60274
0.40127
0.16579
0.012009
0
0
0
0
0
0
0
0
0
0
0
0
0.028375
0.21995
0.45286
0.63506
0.74962
0.76601
0.78491
0.71819
0.59061
0.39686
0.16441
0.010997
0
0
0
0
0
0
0
0
0
0
0
0
0.028418
0.2167
0.44868
0.62285
0.73385
0.78298
0.78242
0.71479
0.5801
0.38192
0.15619
0.010162
0
0
0
0
0
0
0
0
0
0
0
0
0.02636
0.21029
0.44023
0.61797
0.73612
0.7839
0.77731
0.71082
0.58002
0.38415
0.15403
0.0087831
0
0
0
0
0
0
0
0
0
0
0
0
0.023744
0.20627
0.43583
0.60954
0.72503
0.78011
0.7729
0.70374
0.5798
0.36665
0.11039
0.0096905
0
0
0
0
0
0
0
0
0
0
0
0
0.0088124
0.027242
0.039968
0.064818
0.17948
0.42619
0.38591
0.49523
0.15184
0.059926
0.0021536
0.0037864
0
0
0
0
0
0
0
0
0
0
0
0
0.021914
0.20234
0.43576
0.61691
0.75374
0.80332
0.79925
0.73298
0.58696
0.33346
0.13879
0.0023318
0
0
0
0
0
0
0
0
0
0
0
0
0.021439
0.18797
0.42588
0.57092
0.58896
0.64389
0.51931
0.49025
0.42536
0.19891
0.13583
0.0067252
0
0
0
0
0
0
0
0
0
0
0
0
0.022056
0.14683
0.29345
0.56622
0.59042
0.71974
0.77138
0.56399
0.58121
0.34549
0.13778
0.0079722
0
0
0
0
0
0
0
0
0
0
0
0
0.030148
0.18069
0.49225
0.56379
0.74314
0.12694
0
0.549
0.37
0
0.0016616
0.004197
0
0
0
0
0
0
0
0
0
0
0
0
0.0078841
0.098009
0.18396
0.19075
0.29002
0.1754
0.25513
0.29945
0.36216
0.42551
0.11271
0.0078843
0
0
0
0
0
0
0
0
0
0
0
0
0.020663
0.2258
0.47133
0.65865
0.76933
0.82148
0.83444
0.69005
0.5916
0.26826
0.1215
0.0027951
0
0
0
0
0
0
0
0
0
0
0
0
0.011691
0.21143
0.48569
0.46044
0.79255
0.32416
0.070896
0.45791
0.29817
0.2247
0.050174
0.0021528
0
0
0
0
0
0
0
0
0
0
0
0
0.0029981
0.004589
0.44384
0.17325
0
0.617
0.677
0.646
0.541
0.383
0.174
0.005
0
0
0
0
0
0
0
0
0
0
0
0
2.4301e-08
0.00050258
0.00037476
0
0.384
0.406
0.412
0.364
0.284
0.169
0.066
0.003
0
0
0
0
0
0
0
0
0
0
0
0
0.0026836
0.00022667
0
0.531
0.642
0.726
0.729
0.669
0.562
0.421
0.23
0.012
0
0
0
0
0
0
0
0
0
0
0
0
0
0.091
0
0.67255
0.68125
0.55517
0.36665
0.66267
0.5909
0.27615
0.05716
0.0013444
0
0
0
0
0
0
0
0
0
0
0
0
0.016879
0.17807
0.41977
0.47567
0.43733
0.4739
0.49249
0.66326
0.46563
0.21409
0.095084
0.0013739
0
0
0
0
0
0
0
0
0
0
0
0
0.00096235
0.034076
0.080691
0.14757
0.17291
0.24562
0.24224
0.33596
0.59008
0.37016
0.10866
0.00084024
0
0
0
0
0
0
0
0
0
0
0
0
0.0082309
0.19311
0.44235
0.62343
0.74678
0.79914
0.78905
0.71656
0.57429
0.36216
0.10379
0.00066116
0
0
0
0
0
0
0
0
0
0
0
0
0.010924
0.19646
0.44694
0.62846
0.71451
0.79171
0.68336
0.45574
0.41837
0.19169
0.052908
0.002368
0
0
0
0
0
0
0
0
0
0
0
0
0.0018783
0.099556
0.41849
0.59744
0.7143
0.77181
0.64344
0.59792
0.3469
0.2195
0.064066
0.0010781
0
0
0
0
0
0
0
0
0
0
0
0
0.00028931
0.024474
0.23313
0.2375
0.45679
0.25149
0.27849
0.17211
0.13855
0.055432
0.01636
6.5678e-05
0
0
0
0
0
0
0
0
0
0
0
0
0.0061031
0.17562
0.42497
0.61116
0.73678
0.76098
0.69486
0.72777
0.56942
0.32673
0.038906
0.0014143
0
0
0
0
0
0
0
0
0
0
0
0
0.0055651
0.09317
0.22071
0.44478
0.71762
0.573
0.53289
0.61435
0.41635
0.15578
0.042108
0.00029909
0
0
0
0
0
0
0
0
0
0
0
0
0.0014422
0.12216
0.18872
0.38354
0.53797
0.78131
0.76787
0.58048
0.40608
0.33539
0.076785
0.00031176
0
0
0
0
0
0
0
0
0
0
0
0
0.0062583
0.16138
0.41854
0.607
0.7209
0.71018
0.76945
0.69022
0.53601
0.32136
0.070823
0.00023065
0
0
0
0
0
0
0
0
0
0
0
0
0.0056162
0.16203
0.42207
0.61297
0.71741
0.74117
0.77513
0.69534
0.5521
0.32667
0.039627
0.00021752
0
0
0
0
0
0
0
0
0
0
0
0
0.0025607
0.073771
0.22807
0.41938
0.55104
0.59509
0.70152
0.68745
0.53771
0.31661
0.066426
0.00024773
0
0
0
0
0
0
0
0
0
0
0
0
0.0035573
0.14912
0.41057
0.59864
0.72267
0.78012
0.77175
0.69237
0.54338
0.31644
0.064285
0.00020551
0
0
0
0
0
0
0
0
0
0
0
0
0.0053456
0.1492
0.30044
0.54461
0.70349
0.73826
0.40587
0.57954
0.44248
0.2382
0.042622
6.9281e-05
0
0
0
0
0
0
0
0
0
0
0
0
0.0011418
0.051028
0.20762
0.36521
0.4155
0.53865
0.54433
0.63959
0.52713
0.21881
0.040309
0.0001208
0
0
0
0
0
0
0
0
0
0
0
0
0.00029942
0.12563
0.38912
0.52552
0.66532
0.71401
0.71574
0.63184
0.52981
0.29176
0.056224
0.00010438
0
0
0
0
0
0
0
0
0
0
0
0
0.0042259
0.1416
0.37636
0.49635
0.64764
0.75424
0.75362
0.6649
0.49681
0.25844
0.058541
0.00022797
0
0
0
0
0
0
0
0
0
0
0
0
0.001448
0.041722
0.20971
0.4621
0.62137
0.7553
0.74252
0.65979
0.51456
0.29052
0.047074
0
0
0
0
0
0
0
0
0
0
0
0
0
0.0017377
0.12114
0.38116
0.56384
0.68186
0.74074
0.73319
0.66204
0.48093
0.23809
0.053798
5.9784e-06
0
0
0
0
0
0
0
0
0
0
0
0
0.0013533
0.10162
0.35065
0.54947
0.68103
0.74612
0.73896
0.66452
0.50883
0.26009
0.044918
0.00012263
0
0
0
0
0
0
0
0
0
0
0
0
0.00071509
0.11506
0.37196
0.5576
0.67415
0.72842
0.71902
0.64694
0.5037
0.27801
0.03913
0
0
0
0
0
0
0
0
0
0
0
0
0
0.0017044
0.0343
0.21576
0.493
0.56226
0.65598
0.61348
0.52091
0.46364
0.10046
0.028556
0.00023886
0
0
0
0
0
0
0
0
0
0
0
0
0.0010247
0.092502
0.35092
0.54842
0.66403
0.72692
0.71654
0.6409
0.48972
0.2646
0.034162
0
0
0
0
0
0
0
0
0
0
0
0
0
0.00044139
0.071199
0.33388
0.524
0.63637
0.64342
0.63802
0.64204
0.48303
0.26409
0.035959
8.9682e-06
0
0
0
0
0
0
0
0
0
0
0
0
0.00043794
0.095765
0.34658
0.54168
0.65954
0.71971
0.71272
0.6422
0.49626
0.26263
0.030166
0
0
0
0
0
0
0
0
0
0
0
0
0
0.00010989
0.083267
0.16881
0.57405
0.65969
0.50938
0.73009
0.583
0.47755
0.23301
0.026493
0
0
0
0
0
0
0
0
0
0
0
0
0
0.00021307
0.087483
0.32988
0.53112
0.66163
0.71782
0.69504
0.61635
0.43737
0.14127
0.023412
0
0
0
0
0
0
0
0
0
0
0
0
0
0.00014155
0.093582
0.3525
0.56968
0.6982
0.74109
0.73505
0.66162
0.50831
0.26017
0.025521
0
0
0
0
0
0
0
0
0
0
0
0
0
4.1715e-05
0.079853
0.33298
0.54747
0.66683
0.72087
0.71889
0.64537
0.49392
0.25316
0.025783
0
0
0
0
0
0
0
0
0
0
0
0
0
0.00012905
0.08584
0.34316
0.55685
0.68239
0.7383
0.72956
0.64825
0.50024
0.25248
0.02177
0
0
0
0
0
0
0
0
0
0
0
0
0
0.00010182
0.082972
0.33571
0.54741
0.67929
0.73613
0.72249
0.6424
0.4951
0.24681
0.020647
0
0
0
0
0
0
0
0
0
0
0
0
0
2.5047e-05
0.068134
0.3072
0.51665
0.64776
0.71187
0.70495
0.61714
0.47568
0.22285
0.032921
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.066606
0.31048
0.5218
0.6389
0.69711
0.69564
0.61743
0.46031
0.22259
0.019741
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.024849
0
0.195
0.27
0.311
0.349
0.391
0.264
0.082
0.012
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.060389
0.28934
0.49225
0.52198
0.64257
0.55281
0.59016
0.4554
0.25417
0.025682
0
0
0
0
0
0
0
0
0
0
0
0
0
5.866e-05
0.048078
0.12134
0.24691
0.53703
0.5903
0.66257
0.51725
0.24335
0.077691
0.015074
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.04853
0.19362
0.34685
0.41112
0.68999
0.55617
0.67658
0.53012
0.24891
0.036521
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.027098
0.29954
0.52818
0.65062
0.71788
0.71214
0.64122
0.49005
0.23758
0.014847
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.057428
0.2917
0.52682
0.65108
0.70785
0.71428
0.64927
0.48659
0.23625
0.0091414
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.0017812
0.047986
0.1242
0.18776
0.23367
0.25401
0.20977
0.12076
0.050754
0.012609
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.018447
0.11344
0.18436
0.24796
0.21888
0.25446
0.1733
0.075436
0.056914
0.0043245
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.017448
0.054
0.29958
0.28384
0.33996
0.2775
0.15421
0.19161
0.15808
0.0074112
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.061181
0.21858
0.45672
0.59275
0.64675
0.6248
0.465
0.34314
0.16833
0.021077
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.019919
0.070094
0.20902
0.26416
0.31109
0.41931
0.41738
0.29838
0.15467
0.037071
1.6062e-05
0
0
0
0
0
0
0
0
0
0
0
0
0
0.041609
0.24059
0.41409
0.51212
0.57554
0.67927
0.61765
0.46554
0.22808
0.02799
7.995e-05
0
0
0
0
0
0
0
0
0
0
0
0
0
0.041818
0.26362
0.51508
0.64879
0.70089
0.70732
0.6352
0.48247
0.2301
0.013595
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.042292
0.25882
0.33311
0.58259
0.70505
0.67882
0.54453
0.37633
0.17064
0.028903
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.049986
0.24607
0.48913
0.53403
0.72713
0.55673
0.56647
0.45623
0.22053
0.015266
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.038582
0.16278
0.34324
0.53994
0.24575
0.19592
0.12792
0.12013
0.035103
0.002085
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.037709
0.25169
0.49933
0.64139
0.70889
0.7104
0.63928
0.49133
0.23826
0.015856
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.036757
0.24874
0.50224
0.6561
0.7177
0.70292
0.64116
0.49093
0.24223
0.015522
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.037278
0.25598
0.51344
0.65611
0.72246
0.72855
0.65977
0.50723
0.25417
0.016004
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.031112
0.23542
0.48883
0.64324
0.71692
0.70717
0.64334
0.48933
0.239
0.017477
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.029721
0.29589
0.40686
0.4888
0.24611
0.65047
0.64045
0.48703
0.23993
0.019954
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.031039
0.23967
0.49822
0.64797
0.7137
0.71802
0.65371
0.49985
0.2538
0.018505
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.033702
0.22494
0.34747
0.43717
0.72163
0.71925
0.60984
0.43034
0.074002
0.014791
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.028197
0.22616
0.47933
0.62978
0.69567
0.7036
0.64296
0.49541
0.24852
0.020058
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.028373
0.22976
0.48212
0.63841
0.69077
0.6975
0.64601
0.50205
0.25248
0.020362
4.0366e-06
0
0
0
0
0
0
0
0
0
0
0
0
0
0.027512
0.22631
0.47813
0.62874
0.7045
0.71215
0.65051
0.50505
0.25315
0.021226
7.5302e-06
0
0
0
0
0
0
0
0
0
0
0
0
0
0.020999
0.21879
0.47448
0.62691
0.69309
0.6951
0.62895
0.47184
0.22964
0.028081
2.023e-06
0
0
0
0
0
0
0
0
0
0
0
0
0
0.022085
0.22617
0.48364
0.63541
0.69216
0.6926
0.63651
0.50224
0.2532
0.025099
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.020655
0.21445
0.39673
0.58854
0.69538
0.70538
0.64923
0.50021
0.25412
0.027827
1.577e-05
0
0
0
0
0
0
0
0
0
0
0
0
0
0.021245
0.21505
0.46923
0.62471
0.69642
0.69359
0.63646
0.49171
0.24817
0.028757
1.3233e-05
0
0
0
0
0
0
0
0
0
0
0
0
0
0.020169
0.20594
0.36525
0.57882
0.64388
0.43117
0.42832
0.39706
0.14986
0.0226
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.0077719
0.12439
0.15632
0.21541
0.28588
0.26442
0.18058
0.095138
0.060834
0.010766
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0.0068314
0.13169
0.2256
0.5957
0.6806
0.69455
0.63546
0.49602
0.24081
0.032661
6.5352e-05
0
0
0
0
0
0
0
0
0
0
0
0
0
0.029274
0.18489
0.36027
0.53091
0.52699
0.52122
0.50362
0.35418
0.1125
0.028926
7.4636e-05
0
0
0
0
0
0